**A PROJECT PHASE-I REPORT**

**ON**

**OPTICAL PORT DATA COMMUNICATION USING DLMS COSEM**

SUBMITTED TO THE SAVITRIBAI PHULE PUNE UNIVERSITY, PUNE

IN THE PARTIAL FULFILLMENT FOR THE AWARD OF THE DEGREE

**OF**

**BACHELOR OF ENGINEERING**

**IN**

**ELECTRONICS AND TELECOMMUNICATION**

**BY**

## Nikhil Ekvachane Exam. No. 71820671B

**Soham Tembe Exam. No.** **71821587H**

**Sumeet Upasani Exam. No. 71821614J**

**UNDER THE GUIDANCE OF**

**PROF. P. G. CHILVERI**

****

**DEPARTMENT OF ELECTRONICS AND TELECOMMUNICATION ENGG**.

**STES’S**

**SMT. KASHIBAI NAVALE COLLEGE OF ENGINEERING**

**VADGAON BK., OFF.SINHGAD ROAD**

**PUNE 411041**

**2020– 2021**

**CERTIFICATE**

This is to certify that the project phase-I report entitled

“**OPTICAL PORT DATA COMMUNICATION USING DLMS COSEM**”

**Submitted by**

## Nikhil Ekvachane Exam. No. 71820671B

Soham Tembe Exam. No. 71821587H

Sumeet Upasani Exam. No. 71821614J

is a bonafide work carried out by them under the supervision of Prof. P. G. Chilveri and it is approved for the partial fulfillment of the requirement of Savitribai Phule Pune University for the award of the Degree of Bachelor of Engineering (Electronics and Telecommunication Engineering)

This project Phase-I report has not been earlier submitted to any other Institute or University for the award of any degree or diploma.

Prof. P.G. Chilveri Prof. Dr. S.K. Jagtap Dr. A.V. Deshpande

**Guide Head Principal Department of E&TC Department of E&TC S.K.N.C.O.E, Pune-41**

Place: Pune

Date:

### CONTENTS

**CERTIFICATE** I

**CERTIFICATE FROM INDUSTRY** II

**ACKNOWLEDGEMENT** III

**ABSTRACT** IV

**LIST OF FIGURES** V

**LIST OF TABLES** VI

**NOMENCLATURE** VII

**CHAPTER TITLE PAGE NO.**

**1.** **INTRODUCTION**

* 1. BACKGROUND
  2. RELEVANCE
  3. PROJECT UNDERTAKEN
  4. SUMMARY

**2.** **LITERATURE SURVEY**

* 1. INTRODUCTION

**3. DESIGN AND DRAWING**

* 1. INTRODUCTION
  2. SYSTEM BLOCK DIAGRAM

3.3 SUMMARY

1. **SYSTEM REQUIREMENTS**
   * 1. 4.1 HARDWARE SPECIFICATIONS
     2. 4.2 SOFTWARE SPECIFICATIONS
2. **IMPLEMENTATION**

5.1 INTRODUCTION

* 1. ----------------

**6.** **EXPERIMENTATION**

* 1. INTRODUCTION
  2. -------------------
     1. ------------------

**6.** **RESULTS AND DESCUSSION**

* 1. INTRODUCTION
  2. -------------------
     1. -------------------

**8. ADVANTAGES, DISADVANTAGES AND APPLICATIONS**

**9.** **CONCLUSIONS**

**10.**  **REFERENCES**

**11. APPENDIX A**

**12.** **APPENDIX B**

1. **INTRODUCTION**
   1. **BACKGROUND**

Energy meters are used for commercial purpose i.e. to record consumption of energy by consumer and correspondingly billing the consumer. In these days in every sector, there are number of customers which use the electricity but they are not satisfied with the services provided by power distribution companies. Electricity authority & the government realizes problems occurring in the existing transmission network, such as increasing cost due to poor operational efficiency, environmental impacts and an ongoing demand for energy. The idea of remote metering was born in the 1960s. Initially, remote pulse transmission was used, but this has gradually been replaced by using various protocols and communication media. Today’s energy meters are data loggers. Now-a-days, meters with complex functionality are based on the latest electronic technology, using digital signal processing, with most functions being implemented in firmware. They give much more than just energy readings. Meters have a large amount of data, which is not practical to read using the given display and can be better read electronically.

* 1. **RELEVANCE**

One of the major components of operational cost in an electrical utility system is the cost of acquiring data on consumption of the thousands of consumers, spread over a large geographical area, connected to the system. Typically, acquiring data on energy consumption is accomplished by making a meter reader visit the premises of each and every consumer and record data manually. Time and again loss of revenue to the utility occurs because of human errors in acquiring data on the consumption of individual consumers. Automating the entire process of acquiring data and billing will reduce the cost by eliminating human intervention in meter reading. The task of collecting data on electricity consumption without human intervention is popularly known as automatic meter reading (AMR). To facilitate automatic data collection, the metering systems should be networked. The earlier Common Meter Reader Instrument (CMRI) had a hardware/ software that used different communication protocols as provided by various manufacturers to download data from the meters of respective manufacturers, all of which were generally supplied with their own data exchange formats or protocols. To ensure interoperability of energy meters, implementing open protocol was the only true solution. Today for Indian power sector “IEC 62056 Electricity metering – Data exchange for meter reading, tariff and load control” (DLMS COSEM) is adopted for implementation in meters as the open protocol for meter data exchange. This series of IEC standards are supported by the Indian Companion Specification as IS 15959. This project aims to enhance the homogeneity in different makes of meters by developing a common meter reading instrument that follows DLMS COSEM protocol and reads any meter data accurately and efficiently.

* 1. **PROJECT UNDERTAKEN**

* + 1. **PROBLEM STATEMENT**

To Implement optical port data communication on any microcontroller as per IS 15959 which serves on DLMS COSEM protocol.

* + 1. **OBJECTIVES**
* To study DLMS COSEM object model.
* To study IS 15959 of the DLMS COSEM protocol.
* To design a client for a typical energy meter.
* To develop a reader using Arduino with optical port.
* To develop a method for establishing association between the client and the server to communicate data optically.

1. **LITERATURE SURVEY**

**[1] F. Drăgan, R. Holonec and R. Copîndean, "Local Monitoring / Recording and Display Device for Power Electricity Meter, using IEC 62056–21 Local AMR application device, hardware solution, for DLMS-COSEM based Power Meters," 2019 8th International Conference on Modern Power Systems (MPS), Cluj Napoca, Romania, 2019**

* 1. The RS232 serial interface is used to connect the device with the power meter using an appropriate physical layer communication protocol, like IEC 62056-21.
  2. Parameters are identified using short OBIS codes, each value being followed by its measure unit.
  3. A simple message exchange consists of pairs of “queries”, “acknowledgements” and “responses”.

**[2] Hiren R. Zala, Viranchi C. Pandya,”Energy Meter Data Acquisition System with Wireless Communication for Smart Metering Application” International Journal of Engineering Research & Technology (IJERT) , Vol. 3 Issue 11, November-2014**

a. A GSM module has to be connected with each Energy meter which will increase the overall cost of the system.

b. The most effective technology of MSP430G microcontroller and CC2500 RF transceiver save the power very much.

c. The message collection of the meter readings at the utility office is done with the use of one SIM300 based GSM module same used in the center node and data collector software Ozeking.

**[3] Subrata Biswas, Mubinul Haque, Arafat Kabir, Md. Iftekhar Alam, Avijeet Banik, “PC Based Low-Cost Energy Meter Billing System for Home and Commercial Buildings” International Journal of Scientific & Engineering Research, Volume 5, Issue 2, February-2014**

a. PC based energy meters can gather data for remote reporting.

1. Radio frequency used in this PC based power monitoring system can take many forms. The more common ones are handheld, mobile, satellite and fixed network solutions.
2. The software is written in C-sharp because C# language is intended to be a simple, modern, general-purpose, object-oriented programming language and it can be modified.

**[4] Gordan Štruklec, Joško Marši,” Implementing DLMS/COSEM in Smart Meters”, 8th International Conference on the European Energy MarkeT (EEM), 25-27 May 2011**

* 1. DLMS/COSEM covers all the AMR/AMI application fields and supports all the communication media (except maybe wireless mesh networks).
  2. The lack of the PC client application which includes all (or most of) DLMS features and which is able to interpret data in a user-friendly way makes the integration process more difficult and more time-consuming.
  3. Main function of an Automatic Meter Reading (AMR) system is gathering meter data for billing in an automated way. Various standard-based techniques enable local or remote connections to meters, e.g. IEC62056-21, IEC62056-31, M-bus, GSM, GPRS, PSTN, Internet, PLC.

**[5] Pradish. M, V. Arunachalam, V. Shivakumar, Mridula Jain, “Testing energy meter compliance for protocol and performance as per standards”, Central Power Research Institute, Bangalore.**

1. The choice of communication medium is equally important as it along with protocol which assures seamless connectivity in the chosen distribution network and ensure successful implementation of the application.
2. The application software at either end aided by a common open protocol can exchange required information as and when needed.
3. Interoperability could be defined as “The ability of a system or a product to work with other systems or products without special effort on the part of the customer”
   * Any system can read any meter
   * No special involvement of vendors

**[6] Central Electricity Authority, Central Power Research Institute, “Functional requirements for Common Meter Reading Instrument”, December 2011.**

1. CMRI supports two modes of operation: CLIENT\_MODE and SERVER\_MODE.
2. In CLIENT\_MODE, CMRI reads and displays selectively or all the instantaneous values, Energy values and demand values, etc., that are specified in ICS.
3. CMRI downloads data from the various meters.
4. CMRI also uploads programmable parameters for desired meters.
5. In SERVER\_MODE, CMRI uploads to BCS all the downloaded data from various meters.

**[7] “DATA EXCHANGE FOR ELECTRICITY METER READING, TARIFF AND LOAD CONTROL COMPANION SPECIFICATION”, April 2011, Bureau of Indian Standards**

1. This document provides a suitable approach to the implementation of the IEC-62056 standards and this Indian Companion Specification in such devices.
2. For each logical device the DLMS/COSEM server shall support one association with properties, objects, and access rights adequate for transferring the stored data of the corresponding meter to the BCS in an efficient manner. The server within the HHU is not required to support ad-hoc access or selective access to the data that differs from the requests which were earlier used to read the data from the meter.
3. HHUs (Hand Held Units also called CMRI or MRI) may retrieve data from DLMS/COSEM Meters conforming to this standard using the communication ports.
4. HHUs shall provide a DLMS/COSEM server interface to the BCS (Base Computer System — the Data collection software) over a suitable communication medium

**[8] Blue Book Edition 12.2: COSEM Interface Classes and OBIS Object Identification System, DLMS User Association, 19th Jan 2017.**

1. This guide describes the basic principles on which the COSEM interface classes (ICs) are built. It also gives a short overview on how interface objects – instantiations of the ICs – are used for communication purposes.
2. Data collection systems and metering equipment from different vendors, following these specifications, can exchange data in an interoperable way.
3. In order to access COSEM objects in the server, an application association (AA) shall first be established with a client. AAs identify the partners and characterize the context within which the associated applications will communicate.
4. OBIS provides a unique identifier for all data within the metering equipment, including not only measurement values, but also abstract values used for configuration or obtaining information about the behavior of the metering equipment.
5. The ID codes defined in this document are used for the identification of:
6. logical names of the instances of the Interface Classes, the objects
7. data transmitted through communication lines
8. data displayed on the metering equipment

**[9] Green Book Edition 9: Companion Specification for Energy Metering DLMS/COSEM Architecture and Protocols, DLMS User Association, 5th August 2019.**



1. The DLMS/COSEM specification specifies an interface model and communication protocols for data exchange with metering equipment.
2. The objective of DLMS/COSEM is to specify a standard for a business domain-oriented interface object model for metering devices and systems, as well as services to access the objects.
3. This Technical report, the “Green Book” specifies the DLMS/COSEM application layer, lower protocol layers and communication profiles.
4. DLMS/COSEM uses the concepts of the Open Systems Interconnection (OSI) model to model information exchange between meters and data collection systems.
5. Data exchange between data collection systems and metering devices is based on the client/server model where data collection systems play the role of the client and metering devices play the role of the server.
6. The client sends service requests to the server which sends service responses. In addition, the server may initiate unsolicited service requests to inform the client about events or to send data on pre-configured conditions.
7. Fig. 1 Client-server model and communication protocols
8. **DESIGN AND DESCRIPTION**
   1. **SYSTEM BLOCK DIAGRAM**

Fig. 2 Block Diagram of Optical Port Data Communication using DLMS/COSEM

The above block diagram describes the system that we are introducing in this project. This system broadly consists of a meter which acts as a server while the reader device acts as the client. As described in the block diagram, the Digital Energy Meter acts as an interface between the user and the power supply from the energy provider. The Reader device consists of an Optical sensor, a microcontroller and a user interface (Laptop/PC). Let’s understand their functions as following:

##### Optical Sensor

Common Optical Probe with Optical band width 900 to 1000 Nano meters is used here whose optical eye is connected to the meter and the USB end is connected to the Microcontroller. The Optical sensor acts as a communication channel between Meter and Reader. Its main function is to collect data through the Optical port present on the Energy Meter.

##### Microcontroller

Microcontroller acts as the heart of our project. Here we are using Arduino Uno (ATMEGA 328P) as our microcontroller. It establishes an association between the server (Energy Meter) and the Client (Reader). The main function of the microcontroller unit is to interpret the data received from the meter.

##### User Interface (Laptop/PC)

This unit acts as the user interface between the user and the Reader device. It displays the data acquired from the meter for better understanding and acts as a terminal to send commands to communicate with the Server (Energy Meter). For this project, we use Laptop as the User Interface which is connected with the Microcontroller unit.

According to the proposed methodology, we put together a reader device using Arduino Uno (ATMEGA 328P) and connecting it to the Energy Meter through the Optical probe. With the help of the terminal displayed on the User Interface, we establish an association with the Energy meter after successfully completing a process called “Hand-shake”. Later on, we communicate with the Energy Meter and acquire data from it in the form of electrical parameters which is made visible on the User Interface Display

1. **SYSTEM REQUIREMENTS**
2. Hardware Specification
   1. Micro-controller – Arduino Uno (ATMEGA 328P)
   2. Common Optical Probe with Optical band width 900 to 1000 Nano meters
   3. User Interface- Laptop/PC
3. Software Specification
   1. Visual Studio Code
   2. Python 3.7
      1. Python is a general-purpose object-oriented programming language with high-level programming capabilities. It has become famous because of its apparent and easily understandable syntax, portability and easy to learn. Python is a programming language that includes features of C and Java. It provides the style of writing an elegant code like C, and for object-oriented programming, it offers classes and objects like Java.
      2. Python is derived from programming languages such as ABC, Modula 3, small talk, Algol-68.
      3. Python page is a file with a .py extension that contains could be the combination of HTML Tags and Python scripts.
   3. Arduino IDE 1.8.13

**7. ADVANTAGES, DISADVANTAGES AND APPLICATIONS**

* 1. **ADVANTAGES**
  2. Data is read electronically. Hence, human errors eliminated.
  3. Can read meters by different manufacturers accurately.
  4. Capable to communicate with static energy meters or computers.
  5. Interoperability is brought about by the implementation of DLMS COSEM.
  6. **DISADVANTAGES**

1. Cannot eliminate the need of human involvement.
2. Base Computer Software (BCS) are needed for data interpretation of complex electrical parameters.
   1. **APPLICATIONS**
3. Used for data reading from various makes of meters.

**8. CONCLUSION**

There are many communication technologies used today for meter reading applications, but lack the properties of interoperability and homogeneity. Device described in this project is a solution for meter reading system with capabilities of local display of electrical parameters. In advancement, wireless modules can be used along with other technologies and result can be further improved.

**9. SCOPE FOR FUTURE ENHANCEMENTS**

Creating a smart meter architecture minimizes human intervention in metering, billing and collection process and helps in reducing theft by identifying loss pockets. It requires a two-way communication network, control center equipment and software applications that enable near real-time gathering and transfer of energy usage information. India is aiming to replace the present-day digital meters with the smart meters in near future. In terms of future enhancements, the Reader device introduced in our project will act as an important intermediate block which will simplify the process of bridging the present model of digital meters to the aimed smart meters without incurring heavy losses as well as cutting down the expanses of replacing and discarding the old digital meter. Our reader device basically turns the present-day digital meters to be compatible with the aimed Smart meters.

**10.** **REFERENCES**

[1] Subrata Biswas, Mubinul Haque, Arafat Kabir, Md. Iftekhar Alam, Avijeet Banik, “PC Based Low-Cost Energy Meter Billing System for Home and Commercial Buildings” International Journal of Scientific & Engineering Research, Volume 5, Issue 2, February-2014

[2] F. Drăgan, R. Holonec and R. Copîndean, "Local Monitoring / Recording and Display Device for Power Electricity Meter, using IEC 62056–21 Local AMR application device, hardware solution, for DLMS-COSEM based Power Meters," 2019 8th International Conference on Modern Power Systems (MPS), Cluj Napoca, Romania, 2019

[3] Hiren R. Zala, Viranchi C. Pandya,” Energy Meter Data Acquisition System with Wireless Communication for Smart Metering Application” International Journal of Engineering Research & Technology (IJERT), Vol. 3 Issue 11, November-2014

[4] Gordon Struklec, Josko Marsi,” Implementing DLMS/COSEM in Smart Meters”, 8th International Conference on the European Energy Market (EEM), 25-27 May 2011

[5] Pradish. M, V. Arunachalam, V. Shivakumar, Mridula Jain, “Testing energy meter compliance for protocol and performance as per standards”, Central Power Research Institute, Bangalore.

[6] “Functional Requirements for Common Meter Reading Instrument” by Central Electricity Authority and Central Power Research Institute, December 2011

[7] “Testing energy meter compliance for protocol and performance as per standards”, Central Power Research Institute, Bangalore.

[8] Excerpt – “COSEM Interface Classes and OBIS Object Identification System”, Edition 12.2, DLMS User Association, January 2017

[9] Excerpt – “DLMS/COSEM Architecture and Protocols”, Edition 9, DLMS User Association, May 2019